COMMONWEALTH OF MASSACHUSETTS

ENERGY FACILITIES SITING BOARD

NOTICE OF FILING,

REQUEST FOR COMMENTS, AND PUBLIC COMMENT HEARING

EFSB. 25-08	Hillman Energy Center, LLC

On April 1, 2025, Hillman Energy Center, LLC petitioned the Energy Facilities Siting Board (“the Siting Board” or “EFSB”), pursuant to G.L. c. 40A, § 3, to grant individual and comprehensive exemptions from the Town of Tewksbury, Massachusetts Zoning Bylaw (the “Zoning Bylaw”) to construct a 125 megawatt (“MW”) Battery Energy Storage System (“BESS”) and related infrastructure, including a new electric substation, on approximately 4.3 acres of previously developed industrial land located at 73-75 Hillman Street, as well as an approximately 1,200 foot long new electric transmission interconnection (“the Proposed Transmission Interconnection”) across three parcels of land; two are owned by New England Power Company d/b/a National Grid (“National Grid”) and the third is owned by the Massachusetts Bay Transportation Authority (“MBTA”) in Tewksbury, Massachusetts (collectively, the “Project”). Both the 4.3 acres located at 73-75 Hillman Street and the land owned by National Grid and the MBTA that will contain the proposed new electric transmission interconnection are collectively referred to herein as “the Project Site”. The Project will be interconnected to National Grid’s existing Tewksbury 22 Substation (“Interconnection Substation”), located off Power Company Road in Tewksbury.

## The Siting Board will conduct a public comment hearing with both in-person and remote participation options: [INSERT DATE/TIME].

In-person hearing location: [INSERT DATE/TIME].

Remote attendees: join by clicking (or entering) this link: [INSERT LINK] from a computer, tablet, or smart device. For audio-only participation, attendees can dial in at [INSERT PHONE  NUMBER] (not a toll-free number)] and then enter the Webinar ID: [INSERT WEBINAR ID].

To provide oral comments during the public comment hearing (in person or on Zoom), please send an email to [INSERT EMAIL ADDRESS] with your name, email address, and mailing address by [INSERT DATE]. To provide comments by telephone, please leave a voicemail message referencing “EFSB. 25-08” at [INSERT PHONE NUMBER]with your name, telephone number, and mailing address by noon [INSERT DATE]. Pre-registered commenters will speak first, and other commenters afterward.

The Department also invites written comments on the Petition. Written comments will be most useful to the Department if submitted by [INSERT DATE].

Important Dates

| Public Comment Hearing | [INSERT DATE] |
| --- | --- |
| Deadline to file written comments | [INSERT DATE] |
| Deadline to file for intervention/limited participant status | [INSERT DATE] |

# Public Comment Hearing

At the public comment hearing, the Company will present an overview of the Project. Public officials and members of the public will then have an opportunity to ask questions and make comments about the proposed Project. The public comment hearing will be recorded by a court reporter.  A recording of the public comment hearing will be posted to the Department’s YouTube channel after the public comment hearing, at:

https://www.youtube.com/channel/UCklPj6xxSKww-Kr26lEZVTA.

In this proceeding, the Department will review the Petition to determine (1) whether the Project is necessary, serves the public convenience, and is consistent with the public interest under G.L. c. 164, § 72; and (2) whether the zoning exemptions should be granted, and if the proposed use of the Parcel is reasonably necessary for the convenience or welfare of the public, pursuant to G.L. c. 40A, § 3.

Project Description

Hillman Energy Center, LLC proposes to construct a BESS project to be located on two lots at 73 and 75 Hillman Street in Tewksbury, Massachusetts. The site is bound by Hillman Street to the south, high voltage powerlines to the west, railroad tracks to the north, and Clinton Street to the east.

As part of this development, 169 battery energy storage system modules consisting of lithium-ion batteries housed in above-ground storage cabinets and transformers on concrete slabs will be in installed on approximately 4.3 acres of land area composed of two separate tax parcels (“the BESS/Substation Site”), Parcels 35-6 and 35-7, as shown on the Town of Tewksbury’s Assessor’s map, or 73 Hillman Street and 75 Hillman Street, respectively. Both parcels are accessible from Hillman Street in Tewksbury. These parcels are in an Industrial 2 (“I2”) zoning district according to the Town of Tewksbury’s zoning map. The 73 Hillman Street Parcel (Parcel 35-6) is approximately 4.05 acres in size. Of the total land area on this parcel, approximately 3.8 acres is developed with commercial/industrial buildings, areas for equipment storage, and engineered stormwater management features associated with an existing landscaping business and a truck repair shop. The remaining 0.25 acres of this parcel consists of an isolated vegetated wetland (“IVW”), which is mapped as a potential vernal pool. The 75 Hillman Street Parcel (Parcel 35-7) is entirely developed with no existing engineered stormwater management features and is approximately 0.29 acres in size.

The Proposed Transmission Interconnection is approximately 1,200 feet long and will traverse three separate tax parcels; Parcel ID 49-34 owned by National Grid, Parcel ID 35-5 owned by National Grid, and Parcel ID 11-1 owned by the MBTA. Parcel ID 11-1 and Parcel ID 35-5 are in an Industrial 1 (“I1”) zoning district and Parcel ID 49-34 is in a Park District zoning district according to the Town of Tewksbury’s zoning map. Parcel ID 11-1 is an existing railroad corridor. Parcel 49-34 contains the existing National Grid Substation 22A and wetland areas. Parcel 35-5 contains the existing National Grid Substation 22 (the “Interconnection Substation”) and wetland areas.

The entire Project Site is located within an area mapped as a Zone II Wellhead Protection Area by the Massachusetts Department of Environmental Protection (“MA DEP”). No part of the Project Site is mapped or identified as Outstanding Resource Waters. In addition, the Project Site does not contain any mapped floodplains, estimated habitat for state-listed rare species, certified vernal pools, areas identified as Areas of Critical Environmental Concern (“ACECs”), surface water supply protection areas, or protected open space. In general, land uses immediately surrounding the Project Site include existing electric transmission corridors and other related infrastructure and extensive wetland areas to the north and west and commercial/industrial development to the east and south.

# Intervention and Participation

Persons or groups who wish to be involved in the Siting Board proceeding, beyond providing comments at the public comment hearing or submitting written comments, may seek either to intervene as a party or to participate as a limited participant. A petition to intervene or participate must be filed no later than [INSERT DATE], and follow the instructions provided below in Filing Instructions.

“Intervenor” of “Party” Status: An intervenor can participate fully in the evidentiary phase of the proceeding, including the right to participate in evidentiary hearings, file a brief, and appeal the final order.

“Limited participant” status: A limited participant receives documents during the proceeding and may file a brief.

A petition to intervene must demonstrate that the petitioner may be substantially and specifically affected by this proceeding. See below for filing instructions. For additional information on the Siting Board procedural rules, please see the following link: https://www.mass.gov/how-to/file-a- petition-to-intervene-in-an-efsb-or-dpu-siting-case.

# Filing Instructions

Written comments on the Project, or a petition to intervene or participate as a limited participant in this proceeding, must be filed in two places:

First, the petition to intervene or participate, and comments, must be filed with the Siting Board in electronic format, by email or email attachment to dpu.efiling@mass.gov; and to [INSERT HEARING OFFICER] no later than the close of business on [INSERT DATE]. The text of the e-mail must specify: (1) the docket number of the proceeding (EFSB. 25-08); (2) the name of the person or entity submitting the filing; and (3) a brief description of the document. The electronic filing should also include the name, title, and telephone number of a person to contact in the event of questions about the filing.

Second, the petition or comments must be sent electronically to counsel for the Company, Andrew Kaplan, Pierce Atwood LLP, 100 Summer Street, Boston, Massachusetts 02110 akaplan@pierceatwood.com.

# Public Review of the Company’s Petition

A detailed description of the Project is electronically available via the Siting Board’s webpage for the Project and Petition. In addition, electronic copies of the Petition and attachments have been provided to the Town of Tewksbury. The Company also maintains a webpage for the Project: https://www.hillmanenergycenter.com

Hard Copies of the Company’s petition, including all attachments, are available for public inspection at the following locations, no later than fourteen days before the public hearing:

- Energy Facilities Siting Board, One South Station, 3rd floor, Boston, MA 02110

- Town Clerk, Town of Tewksbury, 1009 Main Street, Tewksbury MA 01876

In addition, the Company’s petitions, including all attachments, are electronically available via the Department of Public Utilities’ website at: http://web1.env.state.ma.us/DPU/FileRoom/dockets. Enter “EFSB25-08” (with no spaces) into the search box.

# Accommodation Requests

Reasonable accommodations for people with disabilities (e.g., Braille, large print, electronic files, audio format) are available upon request. To submit a request for an accommodation, please email ADA Coordinator Jenyka Spitz-Gassnola at Jenyka.Spitz-Gassnola2@mass.gov or call (857)-330- 2572. In your communication, please include a description of the request in as much detail as possible and a way we can contact you if we need more information. Please allow at least one week (7 days) advance notice. Last minute requests will be accepted but we may be unable to fulfill the request.

Interpretation services for those with limited English language proficiency are available upon request. Include in your request the language required, and a way to contact you if we need more information. Requests may be made by [INSERT DATE]. It may not be possible to accommodate last-minute requests. Contact the Hearing Officer (contact information below).

# Non-discrimination Notice

The Siting Board complies with applicable state and federal civil rights laws and does not discriminate on the basis of sex, race, color, religion, creed, national origin (including limited English proficiency), gender identity, income, class, disability, age, sexual orientation, ethnicity, genetic information, ancestry, or status as a veteran. The Siting Board does not exclude people or treat them differently because of sex, race, color, religion, creed, national origin (including limited English proficiency), gender identity, income, class, disability, age, sexual orientation, ethnicity, genetic information, ancestry, or status as a veteran. See the Department’s Non-Discrimination Notice at: https://www.mass.gov/info-details/massachusetts-dpu-non-discrimination-notice.

If you have any questions about this notice or any of the Siting Board’s non-discrimination programs, policies or procedures, you may contact:

## Jenyka Spitz-Gassnola, Non-Discrimination Coordinator, Executive Office of Energy and Environmental Affairs 100 Cambridge Street

Boston, MA 02114

Tel: (857)-330-2572

Jenyka.Spitz-Gassnola2@mass.gov

If you believe that you have been discriminated against with respect to an Siting Board program or activity, you may contact Jenyka Spitz-Gassnola, Non-Discrimination Coordinator, identified above, to learn how and where to file a complaint of discrimination.

# Contact

For further information about the proceeding, please contact the Hearing Officer at the address or telephone number below:

[INSERT], Hearing Officer Massachusetts Department of Public Utilities

One South Station Boston, MA 02110

(617) 305-xxxx [e-mail address]